{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":29,"n_cols":11,"rows_kept":29,"merged":[[0,0,0,10],[25,0,25,10],[26,0,26,10]],"flags":["formulas_cached_only"]}
[" 泰州综合管廊材料申购表（2019年度）"]
["锦宸集团有限公司泰州综合管廊工程项目部"]
["序号 ","材料名称","型号及规格","材料","单位","数量","材料采购单价（含税价）","材料采购合价（含税价）","材料品牌要求"," 用途","备注"]
[1,"潜污泵","Q=30m³/h H=12m N=3.0KW","成品","台",38,null,null,"飞力、KSB、格兰富、威乐（德国）","管廊压力排水"]
[2,"潜污泵","Q=30m³/h H=20m N=4.0KW","成品","台",4,null,null,"飞力、KSB、格兰富、威乐（德国）","管廊压力排水"]
[3,"潜污泵控制箱","厂家配套，带两组浮球","成品","台",21,null,null,"飞力、KSB、格兰富、威乐（德国）","管廊压力排水","参照国标图集10D303-3，第191-193页,（配电箱水泵回路应有手自动操作功能，要求能够现场手动控制，根据液位自动控制及PLC根据液位远程监视及控制）"]
[4,"手动闸阀","DN100 PN0.6MPa","铸铁","个",42,null,null,"冠龙、丹麦AVK、德国VAG","管廊压力排水"]
[5,"缓闭止回阀","DN100 PN0.6MPa","铸铁","个",42,null,null,"冠龙、丹麦AVK、德国VAG","管廊压力排水"]
[6,"橡胶软接头","DN100 PN0.6MPa",null,"个",42,null,null,"冠龙、丹麦AVK、德国VAG","管廊压力排水","两端带法兰"]
[7,"钢管","D159*6","Q235","米",669.9,null,null,"天津友发、徐州光环、无锡湖光","管廊压力排水","钢管长度需扣除管件、阀门所占的长度"]
[8,"钢管","D108*4","Q235","米",136.5,null,null,"天津友发、徐州光环、无锡湖光","管廊压力排水","钢管长度需扣除管件、阀门所占的长度"]
[9,"钢管","D57*4","Q235","米",5.46,null,null,"天津友发、徐州光环、无锡湖光","管廊压力排水","钢管长度需扣除管件、阀门所占的长度"]
[10,"角钢支架","40*4","Q235","米",58.8,{"$nulls":3},"管廊压力排水"]
[11,"法兰盘","D57","Q235","个",42,{"$nulls":3},"管廊压力排水"]
[12,"法兰盘","DN108","Q235","个",84,{"$nulls":3},"管廊压力排水"]
[13,"90°弯头","D57*4","Q235","个",42,{"$nulls":3},"管廊压力排水"]
[14,"异径管","D108*D57*4","Q235","个",42,{"$nulls":3},"管廊压力排水"]
[15,"90°弯头","D108*4","Q235","个",42,{"$nulls":3},"管廊压力排水"]
[16,"异径管","D159*D108*6","Q235","个",42,{"$nulls":3},"管廊压力排水"]
[17,"等径三通","D159*6","Q235","个",21,{"$nulls":3},"管廊压力排水"]
[18,"90°弯头","D159*6","Q235","个",42,{"$nulls":3},"管廊压力排水"]
[19,"橡胶垫片","DN100","橡胶","片",84,{"$nulls":3},"管廊压力排水"]
[20,"橡胶垫片","DN50","橡胶","片",42,{"$nulls":3},"管廊压力排水"]
[21]
[]
[]
["审核：                  预算：                   现场：                  申报："]
[]
["                                                                            日期：   年    月    日"]